## ISO8000_parsed_ch8
ACOUSTICS |  |  | QUANTITIES | UNITS |  |  |  | ACOUSTICS
Item No. | Name | Symbol | Definition | Remarks | Item No. | Name | Inter- national symbol | Definition | Conversion factors and remarks
8-1 ( 7-1 ) | period duration, period | T | duration of one cycle of a periodic phenomenon | See also ISO 80000-3:2006, item 3-12. | 8-1.a | second | s
fr période (f)
8-2 ( 7-2 ) | frequency fr fréquence (f) | f , ( v ) | f = 1 /T where T is period (item 8-1) | For the standard tuning frequency (standard musical pitch), see ISO 16. See also | 8-2.a | hertz | Hz | 1 Hz := 1 s − 1 | 1 Hz is the frequency of a periodic phenomenon, the period of which is 1 s.
ISO 80000-3:2006, item 3-15.1.
8-3 ( 7-3 ) | logarithmic frequency interval fr intervalle (m) logarithmique de fréquence | G | G = lb ( f 2 /f 1 ) where f 1 and f 2 � f 1 are | l b ( f 2 / f 1 ) = lo g 2 ( f 2 / f 1 ) | 8-3.a | octave | oct | 1 oct := lb 2 = 1 1 dec := lb 10 = ( lb 10 ) oct ≈ 3,32 oct = 3,32 | 1 oct is the logarithmic frequency; interval between f 1 and f 2 when; f 2 /f 1 = 2.
|  |  | frequencies (item 8-2) of two |  | 8-3.b | decade | dec |  | 1 dec is the logarithmic; frequency interval between f 1; and f 2 when f 2 /f 1 = 10.
tones
8-4 ( 7-4 ) | angular frequency fr pulsation (f) | ω | ω = 2 π f where f is frequency (item 8-2) | See also ISO 80000-3:2006, item 3-16. | 8-4.a 8-4.b | radian per second second to the power minus one | rad/s s –1
8-5 ( 7-5 ) | wavelength fr longueur (f) d'onde | λ | for a sinusoidal wave and in a direction perpendicular to the | See also ISO 80000-3:2006, item 3-17. | 8-5.a | metre | m
|  |  |  | The symbols for any of the quantities 8-9.2 to 8-13 inclusive; are often used without; modification for their root-mean-; square (r.m.s.) values. See also IEC 60027- 1. | 8-6.a | metre to the power minus one | m –1
[5 empty] | 8-7.a 8-7.b | radian per metre metre to the power minus one | rad/m m –1
[5 empty] | 8-8.a | kilogram per cubic metre | kg/m 3
8-9.1 ( 7-9.1 ); 8-9.2 ( 7-9.2 ) | static pressure fr pression (f) statique; sound pressure fr pression (f) acoustique ( instantanée ) | p s; p | pressure that would exist in the absence of sound waves; difference between instantaneous total pressure; and static pressure |  | 8-9.a | pascal | Pa
8-10 ( 7-10 ) | sound particle displacement fr élongation (f) ( instantanée ) d'une particule | δ ( ξ , η , ζ ) | instantaneous displacement of a particle in a medium from what would be its position in the; absence of sound waves |  | 8-10.a | metre | m
8-11 ( 7-11 ) | sound particle velocity fr vitesse (f) acoustique ( instantanée ) d'une particule | v , u ( u , v , w ) |  δ v =  t where δ is sound particle displacement (item 8-10) and t is time | Phase speed of sound is the travel speed of the phase of a sound wave. Group speed of sound is the travel speed of the energy of a sound wave. | 8-11.a | metre per second | m/s
8-12 ( 7-12 ) | sound particle acceleration fr accélération (f) acoustique ( instantanée ) d'une particule | a |  v a =  t where v is sound particle velocity (item 8-11) and t is time |  | 8-12.a | metre per second squared | m/s 2
8-13 ( 7-13 ) | sound volume velocity, sound volume flow rate fr flux (m) de vitesse acoustique ( instantanée ) | q , ( q V ) | surface integral of the normal component of the sound; particle velocity (item 8-11) over; the cross-section (through; which the sound propagates) |  | 8-13.a | cubic metre per second | m 3 /s
8-14.1 ( 7-14.1 ) 8-14.2 ( 7-14.1 ) | phase speed of sound fr vitesse (f) de phase du son , ( célérité) (f) du son ) group speed of sound fr vitesse (f) de groupe du son | c c g | c = ω (= λf ) k where ω is angular frequency (item 8-4) and k is angular wavenumber (item 8-7) d ω c g = d k where ω is angular frequency (item 8-4) and k is angular wavenumber (item 8-7) | Intensity is sometimes known as energy flux density. | 8-14.a | metre per second | m/s
8-15 ( 7-15 ) | sound energy density fr énergie (f) volumique acoustique | w | time-averaged sound energy in a given volume divided by that volume | Because of practical limitations of the measuring instruments, p 2 is always understood to denote the square of a frequency-weighted and frequency-band-limited sound pressure. If specific frequency weightings as specified in IEC 61672-1 are applied, this should be indicated by appropriate subscripts to the symbol E . | 8-15.a | joule per cubic metre | J/m 3
8-16 ( 7-16 ) | sound power fr puissance (f) acoustique | P , P a | through a surface, product of the sound pressure, p (item 8-9.2), and the component of the particle velocity, u n (item 8-11), at a point on the surface in the direction normal to the surface, integrated over that surface (item 8-16.2) | Z c = ρc where ρ is the density (item 8-8) of the medium and c the phase speed of sound (item 8-14.1). | 8-16.a | watt | W
8-17.1 ( 7-17 ) 8-17.2 (—) | sound intensity fr intensité (f) acoustique time-averaged sound intensity fr intensité (f) acoustique moyenne | i I | i = p · v where p is sound pressure (item 8-9.2) and v is sound particle velocity (item 8-11) 1 { t 2 I = i ( t ) d t t 2 − t 1 t 1 where t 1 and t 2 are the starting and ending times for the integral and i is sound intensity (item 8-17.1) |  | 8-17.a | watt per square metre | W/m 2
8-18 (—) | sound exposure fr exposition (f) sonore, exposition (f) au bruit | E | E = r t 2 p 2 d t t 1 where t 1 and t 2 are the starting and ending times for the integral and p is sound pressure (item 8-9.2) | Z m = Z a · A 2 where A is the area of the surface considered and Z a is the acoustic impedance (item 8-20). | 8-18.a | pascal squared second | Pa 2 ·s
8-19 ( 7-20.2 ) | characteristic impedance of a medium fr impédance (f) acoustique caractéristique d'un milieu | Z c | at a point in a non-dissipative medium and for a plane progressive wave, the quotient of the sound pressure (item 8-9.2) by the component of the sound particle velocity (item 8-11) in the direction of the wave propagation | Because of practical limitations of the measuring instruments, p 2 is always understood to denote the square of a frequency-weighted, frequency-band-limited or time- weighted sound pressure or both. If specific frequency and time weightings as specified in IEC 61672-1 or specific frequency bands or both are applied, this should be indicated by appropriate subscripts. For a general definition of the level of a field quantity, see also ISO 80000-3:2006, item 3-21. For media other than air, other reference values may be used. | 8-19.a | pascal second per metre | Pa · s/m
8-20 ( 7-18 ) | acoustic impedance fr impédance (f) acoustique | Z a | at a surface, the complex quotient of the average sound pressure (item 8-9.2) over that surface by the sound volume flow rate (item 8-13) through that surface | For a general definition of the level of a power quantity, see also ISO 80000-3:2006, item 3-22. | 8-20.a | pascal second per cubic metre | Pa · s/m 3
8-21 ( 7-19 ) | mechanical surface impedance fr impédance (f) mécanique ( de surface ) | Z m | at a surface, the complex quotient of the total force on the surface by the component of the average sound particle velocity (item 8-11) at the surface in the direction of the force | If specific frequency weightings as specified in IEC 61672-1 are applied, this should be indicated by appropriate subscripts. | 8-21.a | newton second per metre | N· s/m
8-22 ( 7-21 ) | sound pressure level fr niveau (m) de pression acoustique | L p | L = 10 lg p 2 dB p p 2 0 where p is sound pressure (item 8-9.2) and the reference value in airborne acoustics is p 0 = 20 µ Pa | The quantity 1 /α is called the attenuation length.; m = 2 α is called the power; attenuation coefficient.; When there is a risk of; confusion with item 8-26.4,; m/ 2 is used instead of α for; the attenuation coefficient.; The quantity β ( x − x 0 ) is called the phase.; − j γ is the complex angular wavenumber. | 8-22.a | bel | B | 1 B i s t h e s ou n d p r √ e s s u r e level when p / p 0 = 10 | In practical applications and consistent with the definition of sound pressure level, the submultiple decibel, dB, is used instead of the bel, B. NOTE The addition of a postscript to indicate the frequency weighting, e.g. dB(A), is incorrect. This information should be carried by the quantity symbol, e.g. L A .
8-23 ( 7-22 ) | sound power level fr niveau (m) de puissance acoustique | L W | P L W = 10 lg dB P 0 where P is sound power (item 8-16) and the reference value is P 0 = 1 pW | δ + r + τ = 1; α = δ + τ | 8-23.a | bel | B | 1B is the sound power level when P / P 0 = 10 | In practical applications and consistent with the definition of sound power level, the submultiple decibel, dB, is used instead of the bel, B.
8-24 (—) | sound exposure level fr niveau (m) d'exposition sonore, niveau d'exposition au bruit | L E | E L E = 10 lg dB E 0 where E is sound exposure (item 8-18) and the reference value is E 0 = 400 µ Pa 2 · s |  | 8-24.a | bel | B | 1B is the sound exposure level when E / E 0 = 10 | In practical applications and consistent with the definition of sound exposure level, the submultiple decibel, dB, is used instead of the bel, B.
8-25.1 ( 7-26.1 ); 8-25.2 ( 7-26.2 ); 8-25.3 ( 7-26.3 ) | attenuation coefficient fr affaiblissement (m) linéique de propagation phase coefficient fr déphasage (m) linéique propagation coefficient fr exposant (m) linéique de propagation | α β γ | if a field quantity is a function of distance x given by F ( x )= A e − αx cos [ β ( x − x 0 )] , then α is the attenuation coefficient and β is the phase coefficient γ = α + j β |  | 8-25.a | metre to the power minus one | m –1
8-26.1 ( 7-27.1 ); 8-26.2 ( 7-27.2 ); 8-26.3 ( 7-27.3 ); 8-26.4 ( 7-27.4 ) | dissipation factor for sound power, dissipance fr facteur (m) de dissipation en puissance du son reflection factor for sound power, reflectance fr facteur (m) de réflexion en puissance du son transmission factor for sound power, transmittance fr facteur (m) de transmission en puissance du son absorption factor for sound power, absorbance fr facteur (m) d'absorption acoustique en puissance du son | δ , ψ; r , ( ρ ); τ; α | ratio of dissipated sound power to incident sound power; ratio of reflected sound power to incident sound power; ratio of transmitted sound power to incident sound power; ratio of dissipated and transmitted sound power to incident sound; power |  | 8-26.a | one | 1 |  | See the Introduction, 0.3.2.
8-27 ( 7-28 ) | sound reduction index fr indice (m) d'affaiblis- sement acoustique | R | R = 10 lg(1 /τ ) dB where τ is the transmission; factor (item 8-26.3) |  | 8-27.a | bel | B | 1B is the sound reduction index when 1 /τ = 10 | In practical applications and consistent with the definition of sound reduction index, the submultiple decibel, dB, is used instead of the bel, B.
8-28 ( 7-29 ) | equivalent absorption area of a surface or object fr aire (f) d'absorption équivalente d'une surface ou d'un objet | A | in a diffuse sound field, that area of a surface having an; absorption factor equal to 1,; which, if diffraction effects are; neglected, would, in the same; diffuse sound field, absorb the; same power |  | 8-28.a | square metre | m 2
8-29 ( 7-30 ) | reverberation time fr durée (f) de réverbération | T n | duration required for the space- averaged sound energy density; in an enclosure to decrease to; 10 − n/ 10 of its initial value (i.e.; by n dB) after the source; emission has stopped |  | 8-29.a | second | s